|  |  |  |
| --- | --- | --- |
| **Description** | **Model No** | **Qty** |
| 2MP Indoor Dome Camera 3.6mm Lens with IR 30 Meter H.265 + | CP-UNC-DS25PL3 | 45 |
| 2MP indoor/outdoor Bullet camera 3.6mm lens with IR 30 Meter H.265 + | CP-UNC-TS25ML3 | 22 |
| 4MP Bullet outdoor camera 3.6mm lens with IR 30 Meter WDR camera | CP-UNC-TA41L3-D | 4 |
| 32 CH NVR with 8 SATA 6TB HDD support | CP-UNR-4K4328-V2 | 2 |
| 8 CH NVR with 2 SATA 6 TB HDD support | CP-UNR-4K4082-V2 | 1 |
| 6TB SEAGATE HARD DISK |  | 18 |
| 24 PORT POE switch with 2 Uplinks | CP-UNW-HP24G2F2 | 5 |
| Cat 6 Cable Per meter (As per actual) 3550 Meter Approx |  | 12 |
| 4U Rack with toughened glass and Door key with Power Socket |  | 3 |
| 6U Rack with toughened glass and Door key with Power Socket |  | 1 |
| Camera Installtion cahrges ( per camera) |  | 71 |
| NVR Installation and configuratioon charges |  | 1 |
| Rack Fixing charges |  | 4 |
| samsung 55" inch LED Commercial 4K Monitor |  | 1 |
| HDMI CABLE 5Mtr |  | 1 |