|  |  |  |
| --- | --- | --- |
| ***Sl.No*** | ***Description of Goods*** | **Quantity** |
| 1.  2.  3.  4.  5.  6.  7.  8.  9.  10.  11.  12.  13. | Supply of IP Indoor Bullet Camera 6 MP  Model No: DS-2CD206WFWD-1  Make: Hikvision  Supply Outdoor Dome Camera 6MP  Model No:DS-2CD216WFWD-1  Make: Hikvision  Supply of 32 channel NVR  Model NO:DS-7732NI-I4  Make: Hikvision  Supply of 16channel NVR  Model NO:DS-7716NI-I2  Supply of 6TB Hard Disk  Make: Westen Digital ( WD Purple)  Supply of 24 Port POE 10/100/1000 GBPS Ports+4 Gigabyte  SFP Ports Web Smart Switch  Model : GS724TP  Make: Netgear  Supply of 43" Commercial Display TV  Make: LG  Model No:43LW540S  Supply of 4u Rack with Cooling Fan, Power Manager and Lock  and Key  Make: Netgear  Supply Cat 6 cable with PVC (Appox)  Make: D-Link  HSN Code: 85444220  Laying of Cat 6 Cable with PVC Pipe  IP Camera Fixing Charges  Rack Fixing Charges  NVR Configuration Charges | 60 Nos.  8 Nos.  2 Nos.  1 No.  5 Nos.  4 Nos.  3 Nos.  4 Nos.  1800 Mtrs.  1800 Mtrs.  68 Nos.  4 Nos.  3 Nos. |